## Data
Frame GT Data | Units | CTG 1 | CTG 2 | Notes
Start Time
End Time
Dry Bulb Temperature | Deg F
Relative Humidity | %
Barometric Pressure | Psia
Generator Gross Output | MW
Panel Readout MVAR | Mvar
Generator Power Factor (Panel) | --
Generator Power Factor (Calc) | --- | #DIV/0! | #DIV/0!
Generator Frequency | Hz
Compressor Speed | RPM
IGV Angle / Open% | Deg/%
Compressor Inlet Temperature | Deg F
Compressor Discharge Temperature | Deg F
Exhaust Temperature | Deg F
Compressor Inlet Pressure | Psia
Compressor Discharge Pressure | Psia
Fuel Gas Flow ACFM | ACFM
Fuel Gas Flow SCFM | SCFM
Fuel Gas Pressure | Psig
Fuel Gas Temperature | Deg F
Nox Water Injection Flow | GPM |  |  | we only need one of them
Nox Water Injection Flow | PPH |  |  | we can calculate the other
Static Inlet Loss | In H2O |  |  | if available (DP across the filters)
Static Exhaust Loss | In H2O |  |  | if available (DP across the exhaust SCR, steam generator, etc.)
CEMS NOx Emissions | PPM
CEMS CO Emissions | PPM
Engine Fired Hours | Hours
Gas - BTU (HHV) | Btu/SCF
Gas - Gravity | --
Gas - Mole Fraction Carbon Dioxide (CO2) | mole%
Gas - Mole Fraction Nitrogen (N2) | mole%
Gas - Mole Fraction Methane (CH4) | mole%
Gas - Mole Fraction Ethane (C2) | mole%
Gas - Mole Fraction Propane (C3) | mole%
Gas - Mole Fraction Isobutane (iC4) | mole%
Gas - Mole Fraction n-Butane (nC4) | mole%
Gas - Mole Fraction Isopentane (iC5) | mole%
Gas - Mole Fraction n-Pentane (nC5) | mole%
Gas - Mole Fraction neo-Pentane (neoC5) | mole%
Gas - Mole Fraction Hexane (C6) | mole%
Gas - Mole Fraction Hydrogen Sulfide (H2S) | mole%
Gas - Mole Fraction Hydrogen (H2) | mole%
Gas - Mole Fraction Oxygen (O2) | mole%
Gas - Mole Fraction Helium (He) | mole%
Gas - Mole Fraction Argon (Ar) | mole%
Gas - Mole Fraction Carbon Monoxide (CO) | mole%
Gas - Delivery Pressure | Psia
Gas - Delivery Temperature | Deg F
Gas - Total Delivered Fuel Flow | SCFM